HIGHLAND WATER DISTRICT

PO BOX 158, (24602 OLD OWEN RD)

MONROE, WA 98272-0158

PHONE (360) 794-6900

E-MAIL staff@highlandwaterdistrict.com

MINUTES FOR THE MEETING OF THE BOARD OF COMMISSIONERS OF HIGHLAND WATER DISTRICT ON THURSDAY JULY 11, 2024

Call to order:	Commissioner Jorden announced that a quorum of the board was present and called the meeting to order at 6:00 p.m.

Commissioners present:	Ted Stonebridge, Dick Johnson, Dana Jorden

Staff and Contractors:	Ray Phelps, (Shanika Holen)-Sick

Visitors:

Prior Minutes:	The Commissioners reviewed the minutes for the June 13, 2024, meeting. Commissioner Johnson made a motion to approve the minutes as is. Commissioner Stonebridge second the motion and it carried unanimously.

Attorney:	Nothing to report

Engineer:	Nothing to report

Staff:

A. Usage:	The unaccounted use for June was 6% for Highland and 5% for Friar Creek. Leak detection was done four meters were found not registering and low flow was detected which was taken care of. The Maintenance Tech Field Supervisor will follow up with the Assistant Maintenance Tech. There was a short discussion.

B. Updates:	The Administrative Assistant was out sick. The discussion on the topics of Pasado’s, State Auditors Office, and WSRMP, Comcast, and the Financial Statement were all on the agenda for the July, 11, 2024 meeting and will now all be moved to next meeting so that clarification on the topics needing to be discussed could be given.

C. Pump Station 2:	On Friday July 5th the District received an emergency locate. An individual drove into one of the telephone poles on Woods lake Road. Afte the incident a customer in the District alerted staff that the tanks were overflowing. The incident caused the power in the area to go out which caused one of the power supply units for the tanks at pumpstation two to fail and the tanks to overflow. A new unit was ordered right away and repaired the tank is now up and running. The water loss will not be known until after the reads are done for July. There will some follow-up to why the power supply failed. There was a discussion.

D. Meter Installs:	The Maintenance Tech Field Supervisor will update the Commissioners on the meter installations at the next Commissioners meeting. There was a short discussion.

E. Incident Report:	update to the incident report given to the Commissioners at last month’s meeting was provided. There was a brief discussion.

Commissioners:

A. Financials:	The financials for May and June were reviewed by the Commissioners. There was clarification needed for the June financials. The Maintenance Field Supervisor will ask the Administrative Assistant about it when she is back in the office so that she can follow up with the commissioners about it at next month's meeting.

will be available at the next meeting.

B. Pacific Automation:	An update for the new folding machine is here. Training and install for the folding machine is scheduled for the July 22, 2024.

C. Surveillance:	Still working on installing the rest of the cameras.

D. Fence: 	Install of the new fence is scheduled for the week of the Jully 21st

Vouchers/Payroll:	Commissioner Stonebridge made a motion to approve vouchers 7107 through 7122 in the amount of $159,996.64 Commissioner Johnson seconded the motion and it carried unanimously. Commissioner Stonebridge made a motion to approve payroll for June in the amount of $21489.01 Commissioner Johnson seconded the motion and it carried unanimously.

Next meeting:	The next meeting will be held on August 8, 2024, at 6 p.m. at the District office at 24602 Old Owen Rd, Monroe, WA 98272.

Concluded:	The meeting was concluded at 7:05 pm June 12, 2024.

Approved:	August 8, 2024

Attended__ Absent__

Ted Stonebridge, Secretary

Attended__ Absent__

Dana Jorden, President

Attended__ Absent__

Richard Johnson, Vice-President